## qtn
KERALA STATE FILM DEVELOPMENT CORPORATION LTD
No.2463/T1/16/KSFDC dtd. 12/05/2017
Quotation for Overhauling of oil cooled 500 & 250 kVA transformer
Sealed quotations are invited for A) Overhauling of 250 kVA indoor transformer at Kairali theatre Thiruvananthapuram and B) Overhauling of 500 kVA outdoor transformer at Chitranjali studio, Thiruvallom, Thiruvananthapuram.
A | Overhauling of 250 kVA indoor transformer at Kairali theatre Thiruvananthapuram
Sl.No | Description | Unit | Qty | Rate | Amount
1 | Disconnecting HV, LV cables, earthing etc , loading 250 kVA transformer to vehicle, transporting from site to workshop for overhauling of Transformer including cost of transportation. | Job | 1
2 | Overhauling charges including draining of oil, untanking, lifting, washing, ovening, tightening etc of core and coil, reassembling, retanking, refilling with filtered transformer oil, changing all gaskets, leak testing, conducting transformer tests, measuring insulation resistance etc as required. | Job | 1
3 | Filtration charges of insulating oil of transformer and OCB, measuring BDV of oil etc | Litre | 500
4 | Topping up with new oil for shortage of oil for transformer and OCB | Litre | 50
6 | Supplying and fixing new Silica Gel Breather | No | 1
7 | Servicing of OCB including measuring insulation resistance, replacing oil with the filtered oil excluding spare parts and oil filtration charges. | Job | 1
8 | Transporting Transformer back to site from workshop after overhauling, unloading from vehicle reinstalling, including cost of transportation. | Job | 1
9 | Charges for connection, disconnection, loading, unloading, to and fro transportation of rental transformer including communicating with M/s KSEB. | Job | 1
10 | Providing 250 kVA Rental transformer at site. | Days | 15
Total
In words
B | Overhauling of 500 kVA outdoor transformer at Chitranjali studio, Thiruvallom
Sl.No | Description | Unit | Qty | Rate | Amount
1 | Loading 500 kVA Idle transformer to vehicle, transporting from site to workshop for overhauling of Transformer including cost of transportation. (This transformer can be carried along with 250 kVA transfomer of Kairali theatre. Sl No 1 of Estimate-Part A ) | Job | 1
2 | Overhauling charges including draining of oil, untanking, lifting, washing, ovening, tightening etc of core and coil, reassembling, retanking, refilling with filtered transformer oil, changing all gaskets, leak testing, conducting transformer tests etc as required. | Job | 1
3 | Filtration charges of transformer oil , measuring BDV of oil etc | Litre | 430
4 | Topping up with new oil for shortage of oil for transformer and OCB | Litre | 50
6 | Supplying and fixing new Silica Gel Breather | No | 1
7 | Transporting Transformer back to site from workshop after overhauling, unloading from vehicle to plinth,reinstalling, including cost of transportation. | Job | 1
8 | Charges for disconnection of transformer in service, removing and placing the transformer on spare plinth . | Job | 1
9 | Rental charges for crane | Way | 3
Total
In words