## schedule
SCHEDULE
Supply and installation of 20 kVA UPS
Sl.No | Description of work | Qty. | Unit | Rate | Amount
1 | Supply, Installation testing and commissioning of 20 KVA, 340 to 470V input to 230 V output UPS IGBT Based online Ups with Isolation transformer with external tubular battery for a back up of 45 minutes ( 30 nos of 50AH approximately) with battery stand and interconnecting cables and leak proof fibre glass tray( 3mm thickness, 50mm height for the size of battery stand) with input supply failure alarm, mute button, display of parameters etc . | 1 | no
TOTAL
In words: